## Metadata
Marker | [CANARY-VALIDATION-DOCUMENT-DO-NOT-USE-IN-PRODUCTION]
Canary Namespace | VALCAN-2026
Canary Document ID | VALDOC-028
Canary Bundle | 30_FIELD_ENGINEERING
Synthetic Owner | Jane Canary
Production Use | prohibited
Title | Validation Corrective Action Crosswalk
Generated For | Task 18 canary pack authoring

## corrective_actions
CAP ID | Event ID | Part ID | PO ID | Action
VALCAP-001 | Event 2024-001 | QZ-3003 | PO 9001000002 | Replace UPS module and validate grounding
VALCAP-002 | Event 2024-001 | QZ-3009 | PO 9001000012 | Replace surge filter and log power-quality trend
VALCAP-003 | Event 2024-002 | QZ-3004 | PO 9001000004 | Replace timing antenna and inspect mount
VALCAP-004 | Event 2024-003 | QZ-3006 | PO 9001000003 | Replace failed fan and confirm thermal stability
VALCAP-005 | Event 2024-003 | QZ-3015 | PO 9001000008 | Replace UPS management card and clear alarm state
VALCAP-006 | Event 2024-004 | QZ-3003 | PO 9001000002 | Install spare UPS module and retest transfer path
VALCAP-007 | Event 2024-005 | QZ-3008 | PO 9001000010 | Replace PSU and confirm voltage tolerance
VALCAP-008 | Event 2024-008 | QZ-3007 | PO 9001000011 | Swap battery unit and verify charger state
VALCAP-009 | Event 2024-010 | QZ-3012 | PO 9001000005 | Replace coupler and confirm RF path
VALCAP-010 | Event 2024-011 | QZ-3013 | PO 9001000009 | Replace network card and confirm link stability