## Metadata
Marker | [CANARY-VALIDATION-DOCUMENT-DO-NOT-USE-IN-PRODUCTION]
Canary Namespace | VALCAN-2026
Canary Document ID | VALDOC-022
Canary Bundle | 30_FIELD_ENGINEERING
Synthetic Owner | Jane Canary
Production Use | prohibited
Title | Validation Service Event Tracker 2024
Generated For | Task 18 canary pack authoring

## service_events
Event ID | Date | Site | Event type | Cause | Parts failed | Visit status | Summary
Event 2024-001 | 2024-03-12 | Site: Validation Alpha Site | SERVICE | LIGHTNING | QZ-3003; QZ-3009 | CLOSED | Storm surge damaged the UPS module and surge filter.
Event 2024-002 | 2024-05-18 | Site: Validation Bravo Site | SERVICE | LIGHTNING | QZ-3004 | CLOSED | Lightning strike degraded the timing antenna path.
Event 2024-003 | 2024-06-30 | Site: Validation Charlie Site | SERVICE | LIGHTNING | QZ-3006; QZ-3015 | CLOSED | Lightning event caused thermal alarm and UPS control fault.
Event 2024-004 | 2024-09-14 | Site: Validation Alpha Site | SERVICE | LIGHTNING | QZ-3003 | CLOSED | Repeat storm event caused another UPS module swap.
Event 2024-005 | 2024-01-22 | Site: Validation Delta Site | SERVICE | POWER QUALITY | QZ-3008 | CLOSED | Power fluctuation triggered PSU replacement.
Event 2024-006 | 2024-02-11 | Site: Validation Echo Site | ROUTINE | PREVENTIVE | NONE | CLOSED | Routine preventive maintenance with no failed parts.
Event 2024-007 | 2024-04-07 | Site: Validation Bravo Site | CALIBRATION | SCHEDULED | NONE | CLOSED | Calibration-only visit confirmed alignment.
Event 2024-008 | 2024-07-03 | Site: Validation Delta Site | SERVICE | POWER QUALITY | QZ-3007 | CLOSED | Battery unit replaced after brownout event.
Event 2024-009 | 2024-08-22 | Site: Validation Delta Site | ROUTINE | PREVENTIVE | NONE | CLOSED | Quarterly maintenance and fan cleaning.
Event 2024-010 | 2024-10-08 | Site: Validation Echo Site | SERVICE | POWER QUALITY | QZ-3012 | CLOSED | Transient event required RF coupler replacement.
Event 2024-011 | 2024-11-19 | Site: Validation Charlie Site | NETWORK | REMEDIATION | QZ-3013 | CLOSED | Network remediation replaced the edge network card.