## Metadata
Marker | [CANARY-VALIDATION-DOCUMENT-DO-NOT-USE-IN-PRODUCTION]
Canary Namespace | VALCAN-2026
Canary Document ID | VALDOC-039
Canary Bundle | 50_CROSS_ROLE
Synthetic Owner | Jane Canary
Production Use | prohibited
Title | Validation Part Failure To PO Crosswalk
Generated For | Task 18 canary pack authoring

## crosswalk
Event ID | Site | Date | Cause | Part ID | PO ID | Action
Event 2024-001 | Site: Validation Alpha Site | 2024-03-12 | LIGHTNING | QZ-3003 | PO 9001000002 | Replace UPS module and validate grounding
Event 2024-001 | Site: Validation Alpha Site | 2024-03-12 | LIGHTNING | QZ-3009 | PO 9001000012 | Replace surge filter and log power-quality trend
Event 2024-002 | Site: Validation Bravo Site | 2024-05-18 | LIGHTNING | QZ-3004 | PO 9001000004 | Replace timing antenna and inspect mount
Event 2024-003 | Site: Validation Charlie Site | 2024-06-30 | LIGHTNING | QZ-3006 | PO 9001000003 | Replace failed fan and confirm thermal stability
Event 2024-003 | Site: Validation Charlie Site | 2024-06-30 | LIGHTNING | QZ-3015 | PO 9001000008 | Replace UPS management card and clear alarm state
Event 2024-004 | Site: Validation Alpha Site | 2024-09-14 | LIGHTNING | QZ-3003 | PO 9001000002 | Install spare UPS module and retest transfer path
Event 2024-005 | Site: Validation Delta Site | 2024-01-22 | POWER QUALITY | QZ-3008 | PO 9001000010 | Replace PSU and confirm voltage tolerance
Event 2024-008 | Site: Validation Delta Site | 2024-07-03 | POWER QUALITY | QZ-3007 | PO 9001000011 | Swap battery unit and verify charger state
Event 2024-010 | Site: Validation Echo Site | 2024-10-08 | POWER QUALITY | QZ-3012 | PO 9001000005 | Replace coupler and confirm RF path
Event 2024-011 | Site: Validation Charlie Site | 2024-11-19 | REMEDIATION | QZ-3013 | PO 9001000009 | Replace network card and confirm link stability